L1	Thorlux (Mad in light) Realta Micro	13W led	Uteplats/balkong

L2	Thorlux (Mad in light) DOT LED	17W led	Mindre utrymmen

L3	Thorlux (Mad in light) DOT HALO LED	17W led	Korridor/trapphus

L4	Elektroskandia E7212941	31W led	Teknikrum mm.

L5	Bega (Annell) Carpo Flat 23410	11.9W Led	Kök i tak

L6	Bega (Annell) Venus	 Led	Bad i tak

L6	Elektroskandia SALT II LED	 led	Underskåpsa.

L7	Ensto Jono led	10W led	Över spegel i wc/				bad